APPLICATION FOR BALCONY SHUTTER INSTALLATION – CENTRA

1. YOUR DETAILS

| Unit No: |  | Owner Name: |  |
| --- | --- | --- | --- |
| Phone No. |  | Email |  |

2. PROPOSED SPECIFICATIONS OF SHUTTERS

| Manufacturer/Product Name1 |  |
| --- | --- |
| Installer (Company Name) |  |

NB: Installer must be experienced in high rise installations subject to wind & fire ratings.

| What are shutters made of 1 |  |
| --- | --- |
| What colour are the shutters 2 |  |
|  | (Colour must be the same as ‘Ultra Silver’ – Centra colour) |
| Are shutter louvres adjustable 3 (Y/N) |  |
| Type of shutters (Sliding/Bifold/Fixed) |  |

(Material other than aluminium will require fire rated certification.)

3. OWNER ACKNOWLEDGEMENTS

- Maintenance: I understand that all maintenance, cleaning, and repairs of the shutters are my sole responsibility and not the Body Corporate’s.  Yes

- Appearance: I confirm the shutters will be kept in good repair and the louvres will remain operable to comply with regulations.  Yes

- Liability: I agree to indemnify the Body Corporate against any damage to common property (e.g., slab cracking or water ingress) caused by this installation.  Yes

4. DESCRIPTION OF WORKS

(Briefly describe the scope, e.g., "Installation of three sliding aluminium panels on the western balcony edge.")

** Please attach an image of shutters to be installed (eg. Brochure, photo), or any relevant information that might explain the shutters you wish to install.

Attachments included.  Yes     No     If no,

Owner Signature: _________________________________ Date:

IMPORTANT INFO:

- In the event the shutters are not from a recognised or known manufacturer (eg. Direct import from China), it may be necessary to supply evidence that the shutters (and powder coating) comply with AS1530.1 (non-combustibility) and AS1530.3 (fire spread).

- Shutter colours must match the existing colour used for patio railings and windows throughout Centra.

- Shutter material must be fire rated. eg. aluminium

- To avoid Local Council involvement, shutters must generally remain "operable" and not create a fully sealed "weatherproof room."